Client details:

Address:

Contact person:

Phone number:

Fax:

| 1 | Domestic hotwater |  |  |
| --- | --- | --- | --- |
|  | Heat load | kW |  |
|  | Temperature "cold water" in summer | ºC |  |
|  | Temperature "hot water" | ºC |  |
|  | Pressure "cold water" on heat exchanger inlet | bar |  |
|  | DHW system resistance in critical circuit line | kPa |  |
| 2 | Heating |  |  |
|  | Heat load | kW |  |
|  | Return temperature from heating system | ºC |  |
|  | Outlet temperature for heating system | ºC |  |
|  | Heating system resistance in critical circuit line | kPa |  |
|  | Calculation of expansion vessel |  |  |
|  | Volume of heating system ( tubes + radiators) | dm³ |  |
|  | Height of heating system | m |  |
|  | Opening pressure of safety valve | bar |  |
| 3 | Air Condition |  |  |
|  | Heat load kW | kW |  |
|  | Return temperature from air cond. system | ºC |  |
|  | Outlet temperature for air cond. system | ºC |  |
|  | Air cond. system resistance in critical circuit line | kPa |  |
|  | Calculation of expansion vessel |  |  |
|  | Volume of air cond. system ( tubes + air heaters) | dm³ |  |
|  | Height of air cond. system | m |  |
|  | Opening pressure of safety valve | bar |  |
| 4 | Tecnical data of district heating network |  |  |
|  | Inlet temperature from district heating network | ºC |  |
|  | Return temperature to district heating network | ºC |  |
|  | Inlet temperature from district heating network "summer time" | ºC |  |
|  | Allowed max. return temperature "summer time" | ºC |  |
|  | Pressure in district heating network inlet tube | bar |  |
|  | Pressure in district heating network outlet tube | bar |  |
|  | Quaranteed pressure difference on building inlet-outlet | kPa |  |
| 5 | Available voltage of elecricity for consumer substation |  |  |
| 6 | Producer of control equipment |  |  |
| 7 | Producer of pumps |  |  |
| 8 | Offering of optional equipment ( marking "x") |  |  |
|  | Expansion vessel for heating system |  |  |
|  | Expansion vessel for air cond. system |  |  |
|  | Ball valves on primary side of substation |  |  |
|  | Strainer on primary side of substation |  |  |
|  | Differential pressure controller |  |  |
|  | Heat meter |  |  |
|  | Water meter for domestic hotwater |  |  |

| Ecoterm AS |  |  |
| --- | --- | --- |
| Ujula 4C, Kose Harjumaa | Faks: +372 6 036 656 | Mob: 52 44 656 |
| 75101 Eesti Vabariik | e-mail: eco@ecoterm.ee | Tel: 6 756 332 |